## Medical Equipment & Consumbles
RFQ for Medical Equipment and Consumbles with Specification Doddatumkur PHC, Doddaballapura Taluk, Bangalore Rural Dist
S. No | Items | Specification | Unit | Unit Rate | GST Rate | Total | GST Total | Total Amount
A. Medical Equipment
1 | 3 Bucket Mop Trolly | 15 Ltrs each bucket with Cleaning Mop | 1
2 | Haematology Analyser | 3 part, semi automatic | 1
3 | Bio Chemistry Analyser | Semi Automatic | 1
4 | Hot Air Oven | Remi Brand. RDHO-80 Ltr | 1
5 | Hub Cutter | Syringe & Needle Destroyer Non-Electrical, Stainless Steel Alloy blade, | 10
6 | Crash Cart | Full size, SS frame, oxygen cylinder holder, IV pole, bin, lockable storage drawers, cups in different color coding | 1
7 | Colour Coded Bin | Red, Blue, Black, Yellow-Each two. Rectangular, 12 Ltrs with pedal | 8
8 | Examination Table | SS, two section with upper body. Size 72'Lx30'Wx32 with mattress | 1
9 | Centrifuge machine | Remi Brand. R-8C 16*15ml | 1
10 | Regular table | Wodden table with multiple drawer for office use. | 2
11 | Revolving stool | Height adjustable & revolving top, 4 or more leg. Without wheel | 2
12 | Ceiling fan | 5 star rating, anti dust | 2
13 | waiting chair | 3 seater with handel. SS/metal | 4
14 | Revolving chair-Doctor | Executive chiar with height adjustable, head rest, arm rest with wheel. | 1
15 | Revolving Chair-lab Tec | Swivel shape, height adjustable, with wheel | 1
16 | Glucometer machine | Glucospark | 10
17 | BP machine | Digital | 10
18 | Weighing Machine | BMI weighing Machine Adult | 2
19 | Stadiometer | Movable measuring height | 2
20 | Micropipette | 10-100 Vol. Range. Borosil/Godrej/or any other brand | 1
21 | Micropipette | 100-1000 Vol. Range. Borosil/Godrej/ or any other brand | 1
22 | Micropipette Tips | 10-100 Vol. Range | 1000
23 | Micropipette Tips | 100-1000 Vol. Range | 1000
B. Consumbles
25 | Haematology Analyser Reagent
| Cell Count 3 Para meter |  | 200 Test
26 | Bio Chemistry Analyser Reagent
| Glucouse Reagent |  | 200 Test
| Urea |  | 200 Test
| Creatinine |  | 200 Test
| Bilirubine |  | 200 Test
| SGOT |  | 200 Test
| SCPT |  | 200 Test
| Alkaline Phosphatese |  | 200 Test
| Total Cholesteral |  | 200 Test
| HDL Cholesteral |  | 200 Test
| Triglycerides |  | 200 Test
27 | Glucometer strip | Glucospark | 10000
28 | Lancet | Sterilance-Lite 3 | 10000