## BOQ
Infrastructure Development at PHC Pathri Roh Suman Nagar
SN | Activity | UOM | Units | Rate | Amount | Remarks
| PHC Pathri Roh Suman Nagar |  |  |  | 0
a | Waiting area work | sqm | 43 |  | 0 | - Patient waiting area - 43 sqm - 100 mm x 100mm MS tube pillar with roof 75mm x 25mm tube and covering all sides and door. Roof and 4 sides with 4mm powder coated MS sheets. Frame primer and painting and all accessories.
| Waiting area work (Flooring) | sqm | 41 |  | 0 | - Patient waiting area flooring - 41 sqm - 1 ft soil filling, 100mm, PCC, Yamuna sand and fixing with 50mm interlock tile including labour and material. Work as per specification and direction of engineer in charge
b | Repair and Maintenance of roof | sqm | 203 |  | 0 | Cleaning of roof - 203 sqm – removal of dirts, chipping, broken plaster. Repairing using cement, sand and Waterproofing entire area of roof
c | Installation of solar panel power system | Nos | 1 |  | 0 | Providing and fixing 5kv luminous on grid solar panel power system as per specifications and advice of engineer in charge. Rate includes labour and material
d | Electrical works |  |  |  | 0
| Electrical wiring – switch, sockets, etc. | points | 6
| Ceiling lights | Nos | 2
| Ceiling fan(Crompton) | Nos | 2
| 1.5 tone Inverter Split ac (bluestar or equivalent) Rate includes Piping, installation, all accessories, civil work, labour | Nos | 2
e | Homeopathic room renovation | sqm | 14 |  | 0 | 3 feet height wall tile fixing - 14 sqm
| Homeopathic room renovation | sqm | 26 |  | 0 | 26 sqm - Repair and fix old window and ventilator with 25mm MS tube.Refixing of mosquito net with frame 8pc
f | 3 seater SS waiting Chair | Nos | 2 |  | 0
Notes:
1 | The contractor shall use the approved materials/take approval from the client before executing
2 | Cement shall be : Birla Super / Ultra Tech
3 | Water supply & sanitary pipes shall be – Ashirvad – CPVC pipe, Supreme Pipe- PVC Pipe Painting material shall be : Asian paints, Inside – Tractor Emulsion. Outside- Apex
4 | Painting material shall be : Asian paints, Inside – Tractor Emulsion. Outside- Apex
5 | Electric Items: Wire – Finolex, Switches – Anchor Roma, Fan – Crompton Greeves. LED Tube Lights