## Thandavapura_Subcenter
BOQ Renovation for Thandavapura Sub Centre, Nanjangud Taluk, Mysore District
SL . NO | DESCRIPTION | [5 empty] | UNIT | RATE | TOTAL
| Sub-description | Nos | L | B | D | Qty
Dismantling FloorTiles
1 | Dismantling tile work in floors and walls laid in cement mortar including stacking material to the appropriate disposal area as per direction of Engineer-in-charge.r including stacking the materials with in 50 m lead of tiles thickness 10mm to 25mm. ( PWD SR 19.23 2024 - 22, Vol-2, page no 189, item no 19.22.1)
| Flooring- Inside Toilet | 1 | 3.1 | 1.22 |  | 3.782
| Wall Tiles | 2 | 3.1 | 1.22 |  | 7.564
| Wall Tiles | 3 | 1.22 | 1.22 |  | 4.4652
[6 empty] | 15.8112 | sqm | 0 | 0
| Flooring- Outside Toilet | 1 | 1.5 | 1.21 |  | 1.815
| Wall Tiles | 2 | 0.914 | 1.21 |  | 2.2119
| Wall Tiles | 1 | 1.524 | 1.21 |  | 1.844
[6 empty] | 5.8709 | sqm | 0 | 0
Dismantling Cement Concrete
2 | Demolishing cement concrete manually/ by mechanical means including disposal of material to the appropriate disposal area as per direction of Engineer-in-charge..( Vol 2 Page 187, I.No. 19.2.1 PWD SR 19.0 2023-24
| Kitchen hob counter | 1 | 1.21 | 3.048 |  | 3.6881
| Toilet cement drum | 1 | 2.4 | 0.7 |  | 1.68
| Front existing concrete | 1 | 1.8 | 1.21 |  | 2.178
| Second entry existing floor | 1 | 1.8 | 1.8 |  | 3.24
[6 empty] | 10.7861 | sqm | 0 | 0
Dismantling Plastering
3 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground to the appropriate disposal area as per direction of Engineer-in-charge( Vol 2 Page 193, I.No. 19.55 PWD SR 2023-24
| Inside Toilet Walls | 2 | 1.21 | 3.05 |  | 7.381
|  | 2 | 1.21 | 1.21 |  | 2.9282
| Outside Toilet walls | 2 | 0.91 | 1.21 |  | 2.2022
|  | 2 | 1.524 | 1.21 |  | 3.6881
[6 empty] | 16.1995 | sqm | 0 | 0
Disposal Debris allround Building
4 | Removing and Disposal of debris in batrooms ,allround Building including cost of all materials,labour,HOM of machinery complete .
| Tractor Charges |  |  |  |  | 2 | Nos | 0 | 0
CC 1:2:4
5 | Providing and laying in position plain cement concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machineries, curing, and all the other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement & formwork shall be paid separately)Vol 1 P 15 I NO 2.1.4- PWD 2021-22)
| Outside Entry Flooring | 1 | 3.048 | 2.43 | 0.15 | 1.111
| Outside other Entry Flooring | 1 | 1.82 | 1.82 | 0.15 | 0.49686
| Total |  |  |  |  | 1.6079 | cum | 0 | 0
Plastering
6 | Providing 20 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) to brick/stone masonary including rounding off corners wherever required smooth rendering, rough rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge.Vol 2 P 41 I NO 8.3.2- PWD 2023-24)
| Inside Toilet Walls | 2 | 3.1 |  | 1.22 | 7.564
| Inside Toilet Walls | 3 | 1.22 |  | 1.22 | 4.4652
| flooring | 1 | 3.1 |  | 1.22 | 3.782
| Outside Toilet Walls | 0.91 | 1.5 |  | 1.21 | 1.6517
| Outside Toilet Walls | 2 | 0.91 |  | 1.21 | 2.2022
| Flooring | 1 | 1.52 |  | 1.21 | 1.8392
| External Concrete Finishing | 1 | 3.048 |  | 2.43 | 7.4066
| External Concrete Finishing | 1 | 1.82 |  | 1.82 | 3.3124
| Kitchen hob counter floor finishing | 1 | 1.21 |  | 0.6096 | 0.73762
| Chamber Plastering all sides | 5 | 0.609 |  | 1 | 3.045
| Kitchen hob area wall finishing | 1 | 2.14 |  | 1.2192 | 2.6091
[6 empty] | 38.615 | SQM | 0 | 0
Vitrified Tiles Flooring
7 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joint with white cement & matching pigments etc. complete(Vol 2 P 61 I NO 9.17.2- PWD 2023-24) - size of 600x600mm
| Flooring-Inside Toilet | 1 | 3.1 |  | 1.22 | 3.782
| Flooring-outside Toilet | 1 | 1.52 |  | 1.21 | 1.8392
| Inside Wall-Toilet | 1 | 4.32 |  | 2.1336 | 9.2172
| Outside Wall-Toilet | 1 | 2.41 |  | 2.134 | 5.1429
| Kitchen new counter wall | 2 | 2.1336 |  | 0.6096 | 2.6013
[6 empty] | 22.5826 | sqm | 0 | 0
Aluminium Windows- Inside toilet
8 | KSRB 7.10 : Providing and fixing in position aluminium windows and ventilators as per approved drawings with sliding shutters using double track window frame section of size 61.85x31.75mm. with 1.2mm thick, bottom section weight 0.695 kg/m, sides and top sections 1.3 mm. thick weight 0.659 kg/m; and shutter comprising top and bottom section of size 40mmx18mm, 1.25mm thick 0.417 kg./m; shutter outer side 40mmx18mm, 1.25mm.thick weight 0.417 kg/m, shutter interlock section 40mmx26.7mm, 1.1mm thick, weight 0.469 kg/m. the shutters mounted on nylon rollers with approved quality of fixtures such as aluminium handles tower bolts etc.; and providing and fixing 5.5mm. thick plain glass for shutters fitted with rubber beading aluminium sections including cutting to required length, joints mitred subdividing the frame tenonned and rivetted in aluminium sections pretreated for removal of any Specification . (P.No. 91, I.No. 11.44 of PWD SR 2023-24)
| W | 2 | 0.6096 |  | 0.9144 | 1.1148 | sqm | 0 | 0
ALL Window repair
9 | Repairing and fixing shutters (panelled or glazed) to doors, windows,ventilators and cupboards.Vol 2 P 207 I NO 20.104- PWD 2023-24)
| Windows | 6 | 0.9144 | 1.2192 |  | 6.689 | sqm | 0 | 0
Window Curtain Pipes
10 | Providing & Fixing Window Curten pipes with side designed Couplings including all material , Labour Charges as per diriction of Engineer incharge. Vol2 P no 106 I no 12.66.2 PWD 2023-24
| Windows | 6 | 1.524 |  |  | 9.144 | m | 0 | 0
Window Curtains
11 | Providing & fixing 100% Polyester Curtains with specification of regular wash as per direction of Engineer in charge. Vol 2 P NO 215 I NO 22.24-PWD- 2023-24
| Windows | 6 | 1.524 |  | 2.1336 | 19.5096 | m2 | 0 | 0
Internal Painting
12 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two coats on new work after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge.( PWD SR 2023-24, Vol-2, page no 48, item no 8.39)
Ceiling
| Labour Room | 1 | 3.627 |  | 2.7432 | 9.9496
| Inside Toilet | 1 | 3.048 |  | 1.524 | 4.6452
| CHO Room | 1 | 3.2004 |  | 2.7432 | 8.7793
| Kitchen entry lobby | 1 | 2.4384 |  | 0.9144 | 2.2297
| Kitchen | 1 | 2.1336 |  | 1.9812 | 4.2271
| Entry waiting area | 1 | 3.81 |  | 3.048 | 11.6129
| Immunisation room | 1 | 1.524 |  | 2.1336 | 3.2516
| Outside Toilet | 1 | 1.524 |  | 0.9144 | 1.3935
Inside Wall
| Labour Room | 1 | 12.49 |  | 3.1 | 38.719
| Inside Toilet | 1 | 10.97 |  | 0.9144 | 10.031
| CHO Room | 1 | 11.887 |  | 3.1 | 36.8497
| Kitchen entry lobby | 1 | 4.8768 |  | 3.1 | 15.1181
| Kitchen | 1 | 4.2672 |  | 3.1 | 13.2283
| Entry waiting area | 1 | 13.716 |  | 3.1 | 42.5196
| Immunisation room | 1 | 7.315 |  | 3.1 | 22.6765
| Outside Toilet | 1 | 3.96 |  | 0.9144 | 3.621
228.8521
| Deductions D2 | 7 | 0.9 |  | 2.1 | 13.23
| W | 6 | 1.5 |  | 1.2 | 10.8
| Ventlaters - V | 2 | 0.6 |  | 1.2 | 1.44
25.47
[6 empty] | 203.3821 | Sqm | 0 | 0
Wall putty
13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete as per specifications and as per directions of Engineer in charge. ( P no 50 I NO 8.51) PWD SR 2023-24
| Inside Painting qty |  |  |  |  | 203.38 | Sqm | 0 | 0
External Painting
14 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two coat applied @ 1.67 ltr/10 m² over and including priming coat of exterior primer applied @ 2.20 kg/10 m²) with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge ( P 46 I NO 8.30) PWD SR 2023-24
| Allround Building | 1 | 32.308 |  | 3.6576 | 118.1697
| External Staircase Ceiling | 1 | 7.62 |  | 0.9144 | 6.9677
125.1375
| Deductions -D | 3 | 0.9144 |  | 2.36 | 6.474
| W | 6 | 1.5 |  | 1.2 | 10.8
17.274
[6 empty] | 107.8635 | Sqm | 0 | 0
Enamel Painting
15 | Painting with synthetic enamel paint of approved brand and manufactureto give an even shade :Two coats on new work after thoroughlybrooming the surface to remove all dirt, dust, mortar drops and foreignmatter including preparing the surface even and sand paper smooth,cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge..( PWD SR 2023-24, Vol-2, page no 48, item no 8.41)
| Staircase railings | 2 | 0.762 | 7.62 | 2.25 | 26.129
| Parapet Railings | 1 | 32.3088 | 0.762 | 2.25 | 55.3934
| W | 6 | 1.5 | 1.2 | 2.25 | 24.3
| D | 7 | 2.133 | 0.9144 | 2.25 | 30.719
| Near chamber saftey grills with gate | 1 | 5 | 2.74 | 2.25 | 30.825
| Ventlaters - V | 2 | 0.6 | 1.2 | 2.25 | 3.24
| Gate | 1 | 2.13 | 0.91 | 2.25 | 4.3612
| Enterance support railing | 1 | 1.524 | 0.762 | 2.25 | 2.6129
[6 empty] | 177.5805 | Sqm | 0 | 0
Bib cock
16 | KSRB13-6.1-3 : Providing and fixing in position brass bib cock of approved quality 25mm nominal bore including cost of all materials, labour and HOM of equipments with all leads complete as per specifications(P.No.120, I.No 13.23.3) PWD 2023-24
| Toilets |  |  |  |  | 4 | Each | 0 | 0
Acid Cleaning
17 | Cleaning of Toilet Floor & wall with Chemical/Acid including Cost of Materials, Labour. HOM Complete as per Specifications
| Flooring-Inside Toilet | 1 | 3.1 |  | 1.22 | 3.782
| Flooring-outside Toilet | 1 | 1.52 |  | 1.21 | 1.8392
| Inside Wall-Toilet | 1 | 4.32 |  | 2.1336 | 9.2172
| Outside Wall-Toilet | 1 | 2.41 |  | 2.134 | 5.1429
| Kitchen new counter wall | 2 | 2.1336 |  | 0.6096 | 2.6013
[6 empty] | 22.5826 | sqm | 0 | 0
CPVC Pipe
18 | Providing and fixing Chorinated Poly Venyl Chloride (CPVC) pipes conforming to IS 15778 having thermal stability for hot and cold water supply including all CPVC plain and brass threaded fittings, this includes jointing of pipes and fittings with one step solvent cement, trenching, refilling & testing of joints complete, (external work).(P W D 2023-24 BC SR , P-122, I NO 13.31.2)
| Internal -20mm |  |  |  |  | 15 | M | 0 | 0
110 mm PVC Pipe
19 | KSRB13-8.5 : Providing and fixing to wall, ceiling and floor, low density polyethylene pipes 6.00 kgf/sq.cm working pressure 75mm outside diameter with special flange, compression type fittings, wall clips, making good the wall, ceiling and floor, including cost of all materials, labour charges, HOM of equipments and testing complete as per specifications. Specification No( P 125 I NO 13.50.9) PWD Vol2 2023-24
| Sanitary- 110 mm for chamber pit |  |  |  |  | 10 | M | 0 | 0
Wash Basin(Parryware)
20 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:( PWD SR 2023 - 24, Vol-2, page no 132, item no 14.7.1)
| bathroom |  |  |  |  | 1 | Each | 0 | 0
Indian commode(Parryware)
21 | Providing and fixing indian comode of standard pattern, including of fittings and brackets, cutting and making good the floor. wherever require:( PWD SR 2023 - 24, Vol-2, page no 134, item no 14.7.1 14.13.2)
| Toilet |  |  |  |  | 2 | Each | 0 | 0
22 | Preoviding & Fixing indian comode, Wash basins, with necessary Waste Pipe & Connecting Pipe and , SS Angle cock for gyser, including all material, Labour Cost as per direction of Engineer incharge | [6 empty] | 0 | 0
Aliminium Mosquito Mesh Doors
23 | Providing and fixing Mosqiuto mesh shutters for all windows. PVC frame with stainless steel 304 grade mesh.
| Windows | 6 | 0.9144 | 1.2192 |  | 6.689 | sqm
| Ventlaters - V | 2 | 0.6 |  | 1.4 | 1.68 | sqm
0
[6 empty] | 8.369 | sqm | 0 | 0
Exhaust Fan ( Crompton)
24 | Proiding and Installing exhaust Fan & Tube Lights with all necessary Electrical Wiring as per direction of Engineer in charge
| Exhaust fan | No |  |  |  | 2 | Each | 0 | 0
| Tube Lights | No |  |  |  | 7 | Each | 0 | 0
| Street lights with L angle | No |  |  |  | 2 | Each | 0 | 0
| Instant Gyser | No |  |  |  | 1 | Each | 0 | 0
25 | Wooden Doors and Windows Repairs with Glass, Beeding, Hinges, Aldrobs, Tower Bolts, Welding Charges including Material cost and Labour Charges etc., complete as directed by Engineer in charge. | [6 empty] | LS | 0
26 | Electric Repair work including cost of 1,1.5, 2.5 sqmm Wires, Switches, Switch plates, Switch boxes whereever necessarry with all material, Labour Cost as per direction of Engineer incharge
[6 empty] | 621 | SFT | 0 | 0
27 | Plumbing Repair work including cost of PVC CPVC items , whereever necessarry with all material, Labour Cost as per direction of Engineer incharge.
[6 empty] | 621 | SFT | 0 | 0
28 | Wardrobe: Providing and supplying cupboard shutter with 19mm thick one side Architect recommended decorative laminate (1mm thick) and other side balancing lamination(preferably white) on factory pressed BWP grade marine ply as per IS 710 of approved brand complete as per direction of engineer in-charge.(Payment for providing and fixing auto closing hinges shall be paid separately)
| Labour Room Wardrobe : PWD 2023-24 vol2 Sl No 22.3. page no 217 | 5 | 2.1336 | 1.219 | 2.6009 | 13.0043 | sqm | 0 | 0
| Labour Room Loft PWD 2023-24 vol2 Sr No 22.6. page no 217 | 2 | 2.1336 | 1.219 | 2.6009 | 5.2017 | sqm | 0 | 0
| Kitchen Existing counter Doors & over head cabinets PWD 2023-24 vol2 Sl No 22.3. page no 217 | 2.5 | 2.1336 | 1.219 | 2.6009 | 6.5021 | sqm | 0 | 0
| Kitchen Hob area cabinets PWD 2023-24 vol2 Sl No 22.3. page no 217 | 2 | 2.1336 | 1.219 | 2.6009 | 5.2017 | sqm | 0 | 0
| Kitchen loft doors: cabinets PWD 2023-24 vol2 Sl No 22.3. page no 217 | 1.5 | 2.1336 | 1.219 | 2.6009 | 3.9013 | sqm | 0 | 0
| CHO room & waiting area showcase doors: cabinets PWD 2023-24 vol2 Sl No 22.3. page no 217 | 1 | 1.828 | 2.42 | 4.4238 | 4.4238 | sqm | 0 | 0
| CHO Room - Table back side panneling : PWD 2023-24 vol2 Sr No 10.11. page no 70 |  | 1.98 | 2.13 | 4.2174 | 4.2174 | sqm | 0 | 0
| Wood door near inside toilet: Replacing existing door with new door. PWD 2023-24 vol2 Sl No 22.3. page no 217 | 1 | 2.13 | 1.219 | 2.5965 | 2.5965 | sqm | 0 | 0
| CHO Room Table: PWD 2023-24 vol2 Sl No 22.3. page no 217 | 2 | 1.8 | 0.91 | 1.638 | 3.276 | sqm | 0 | 0
| Iuminisation room wardrobe doors: cabinets PWD 2023-24 vol2 Sl No 22.3. page no 217 | 2 | 3.048 | 1.5 | 4.572 | 9.144 | sqm | 0 | 0
29 | Wardrobe Frame: Providing and supplying 19mm thick both side balancing lamination factory pressed BWP grade marine ply for wardrobe frame structure as per IS 710 of approved brand bo xes,shelves,racks,almirah,cupboard and drawer etc. including necessary nails,screws etc. complete as per direction of Engineer-in-charge.
| Labour room wardrobe inside frame: PWD 2023-24 vol2 Sr No 22.6. page no 217 | 5 | 2.1336 | 1.219 | 2.6009 | 13.0043 | sqm | 0 | 0
| Labour room Loft frame : PWD 2023-24 vol2 Sr No 22.6. page no 217 | 1 | 2.1336 | 1.219 | 2.6009 | 2.6009 | sqm | 0 | 0
| Kitchen Loft frame : PWD 2023-24 vol2 Sr No 22.6. page no 217 | 1 | 2.1336 | 1.219 | 2.6009 | 2.6009 | sqm | 0 | 0
| Immunisation room wardrobe frame : PWD 2023-24 vol2 Sr No 22.6. page no 217 | 2 | 3.048 | 1.524 | 4.6452 | 9.2903 | sqm | 0 | 0
30 | Hinges for wardrobe Door operation: Providing and fixing Stainless Steel 304 grade soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge
| PWD 2023-24, Page no 218, Sl No 22.10, Hinges | 40 |  |  |  | 40 | no | 0 | 0
31 | Edge band - Providing and fixing 2mm thick 16 to 19mm wide PVC edge binding tape of approved quality for cupboard/wardrobe/kitchen shutters including necessary synthetic resin hot pressed to edges on binding machine etc. complete as per directions of Engineer-in-charge.
| labour room wardrobe edgeband : PWD 2023-24, Page no 218, Sl No 22.14 | 85.4 |  |  |  | 85.344 | m | 0 | 0
| Kitchen edgeband PWD 2023-24, Page no 218, Sl No 22.14 | 90 |  |  |  | 90 | m | 0 | 0
32 | SS aldrop: Providing and fixing Stainless Steel aldrop conforming to 304 graded steel as per direction of engineer in charge.16mm dia, 300mm PWD 2023-24, Page no 219, Sl No 22.15.4.
| SS aldrop for Doors | 7 |  |  |  | 7 | no | 0 | 0
| SS Tower bolts for Doors PWD 2023-24 Sl no 22.15.6 page no 219 | 7 |  |  |  | 7 | no | 0 | 0
33 | SS Handles for wardrobe: Providing and fixing Stainless Steel Fixtures conforming to 304 graded steel as per direction of engineer in charge PWD 2023-24, Page no 218, Sl No 22.15.1.
| labour room wardrobe handles: PWD 2023-24, Page no 218, Sl No 22.14 | 16 |  |  |  | 16 | no | 0 | 0
| Kitchen doors handle PWD 2023-24, Page no 218, Sl No 22.14 | 22 |  |  |  | 22 | no | 0 | 0
| All room doors handle PWD 2023-24, Page no 218, Sl No 22.14 | 14 |  |  |  | 22 | no | 0 | 0
34 | Labour & installation charges for BWP ply:BWR ply:HDHMR: MDF & Particle board work of any thickness applicable for all types of work PWD-2023-24 Vol 2- SL No 22.8 - Page No 218.
| wardrobe | 1 | 2.1336 | 2.7432 |  | 5.8529 | sqm | 0 | 0
| Kitchen existing counter doors | 1 | 0.762 | 2.1336 |  | 1.6258 | sqm | 0 | 0
| Kitchen over head | 1 | 2.13 | 0.609 |  | 1.2972 | sqm | 0 | 0
| Kitchen Loft | 1 | 2.13 | 0.9144 |  | 1.9477 | sqm | 0 | 0
| Kitchen hob area new counter | 1 | 1.67 | 0.79 |  | 1.3193 | sqm | 0 | 0
| All doors panneling front side | 7 | 2.134 | 1.22 |  | 18.2244 | sqm | 0 | 0
35 | All doors Single side pannelling- Providing and fixing plywood 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface with Decorative veneer facings of approved manufacture. PWD-2023-24 Vol 2- SL No 22.8 - Page No 218.
| Doors- Front side panneling : PWD 2023-24 vol2 Sr No 10.11. page no 70 | 7 | 2.1336 | 1.219 | 2.6009 | 18.206 | sqm | 0 | 0
| Doors- Frame panneling front side : PWD 2023-24 vol2 Sr No 10.11. page no 70 | 7 | 5.18 | 1 | 5.18 | 36.26 | sqm | 0 | 0
36 | Aluminium partition in Immunisation room: Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/m²) including cost of materials, labour, usage charges of machinery complete as per specifications.. PWD-2023-24 Vol 2- SL No 11.44.2 - Page No 91.
|  |  | 1.24 | 2.13 | 2.6412 | 2.6412 | sqm | 0 | 0
37 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc.. PWD-2023-24 Vol 2- SL No 11.34.B - Page No 86.
| Terrace railings size 106*2 |  |  |  |  | 330 | kg | 0 | 0
| Saftey grill near chamber area |  | 5.63 | 2.74 | 15.4262 | 170 | kg | 0 | 0
38 | Labour room bed curtain: Providing & fixing 100% Polyester Curtains with specification of regular wash as per direction of Engineer in charge. PWD-2023-24 Vol 2- SL No 22.24 - Page No 219.
|  |  | 3.6576 | 2.4 | 8.7782 | 8.7782 | sqm | 0 | 0
| Track- 12 feet length |  |  |  |  | 1 | no | 0 | 0
39 | Art work Painting For Front two sides: - Providing & painting art work in enamel paint of approved colour & shade including necessary scaffolding, cleaning of paint stains where ever necessary including curing etc,complete with all lead & lift at all levels.
|  |  | 57 | 12 |  | 684 | SFT | 0 | 0
40 | Water purifier: Providing & installing water purifier for subcenter. USEPA Drinking water standards. Brands like Zero B, kent, aqua..
[6 empty] | 1 | no | 0 | 0
41 | Medicine Rack: Providing & Installing 5 shelves with slotted angle medicine Storage rack. (size: 7*3, material: steel)
[6 empty] | 1 | no | 0 | 0
42 | CCTV Camera : Providing & installing 4 channel DVR with 5mp 2 bullet and one dome cameras with 1 TB HDD with rack & cables.
[6 empty] | 1 | no | 0 | 0
43 | Computer: Providing All in one PC - Intel core i3 - 22 inch display - 8 gb RAM - 512 GB SSD - intel UHD graphics, wireless keyboard and mouse - Windows 11.
[6 empty] | 1 | no | 0 | 0
44 | Printer : Providing All in one Printer - DeskJet. Functions- Print, copy, scan. Wireless: print from phone or tablet. A4 size, Colour print.
[6 empty] | 1 | no | 0 | 0
45 | Meter covering Box |  |  |  |  | 1 | no | 0 | 0
[7 empty] | Sub Total |  | 0
| Add 18% GST | [7 empty] | 0
[7 empty] | Grand Total |  | 0
Basic Materials Specification_Thandavapura Subcenter
1. Cement - 53 grade for Structure, 43 grade for plastering 2. Dalmia / Ramco or equivalent 3. Reinforcement steel 555/550 TMT 4. Meenakshi/Prime gold or equivalent 5. Electrical Switches to be HIFIor equivalent 6. Electrical wires Anchor/orbit FR cable make Conduits to be VIP/UNIVERSAL make Switch boxes to be of PVC. 7. Fabrication steel-16 gauge 8. PLY Wood-Comecial ply - neem, Water proof ply - BWP ply, Laminate - stylam/merino 9. Plumbing: CPVC pipes shall be 25mm and 20mm dia as ISI quality White PVC for supply lines of ISI make (Ashirwad/Supreme/ or equivalent) Gray PVC for rainwater and drainage (Supreme/Ashirwad/ or equivalent.) 10. Sanitary ware shall be of Hindware/Parryware or an equivalent make. 11. Doors:All hardware, Screws, Hinges, Bolts, Padlocks, Locks, Stoppers etc 12. Painting-Wall putty, Exterior paint - Exterior assian/Nippon paints, Interior Paint - Asian/Nippon Emulsion 13. Aluminium works :Aluminium windows & Doors, Glazing etc : Best Indian Make.